APPENDIX L

WASHINGTON STATE UNIVERSITY VANCOUVER

PERSONAL PROTECTIVE EQUIPMENT (PPE) SELECTION

1.0	INTRODUCTION	1

2.0	HAZARD ASSESSMENT	1

2.1	Hazard Re-Assessment	2

2.2	Hazard Assessment Certification	2

2.3	Hazard Assessment Assistance	2

3.0	PPE EQUIPMENT SELECTION	2

4.0	TRAINING	3

4.1	Training Certification	3

5.0	EYE PROTECTION SELECTION	3

6.0	FOOT PROTECTION SELECTION	5

7.0	HEAD PROTECTION	6

8.0	HAND PROTECTION	7

9.0	HEARING PROTECTION	8

10.0	RESPIRATORY PROTECTION	8

11.0	MISCELLANEOUS PERSONAL PROTECTIVE EQUIPMENT SELECTION	8

# 1.0	INTRODUCTION

The Washington Administrative Code 296-800-160 requires the use of personal protective equipment to protect the body from chemical, physical, radiological, electrical, mechanical, and other workplace hazards having the potential to cause injury or impairment. The standard requires that WSU conduct and document assessments of the workplace to determine if hazards are present, or likely to be present, which necessitate the use of PPE. Reference WSU’s SPPM S30.10.1.

PPE must be selected and used when workplace hazards are not eliminated or controlled by engineering controls (i.e., guards, ventilation) and administrative controls (i.e., job rotation, work practices). Employees required to wear PPE are to be trained in its proper use and limitations. This training is to be documented.

EH&S has developed these materials to enhance employee protection and achieve regulatory compliance. The materials were designed to provide guidance in conducting and documenting workplace hazard assessments, selecting PPE and providing and recording training. Laboratory units should use the Laboratory Safety Manual, section IV, Standard Operating Procedure to assess and document chemicals hazards, select PPE and record training.

# 2.0	HAZARD ASSESSMENT

To assess areas and work practices that potentially necessitate the use of PPE, a walk-through survey must be conducted. The purpose of the survey is to identify hazards and sources of hazards that employees are potentially exposed to during the course of their work. The walk-through survey is to be performed by supervisors responsible for the working conditions and practices in their areas. Supervisors conducting hazard assessments should observe work practices and obtain information from affected employees. See SPPM S20.35, Job Safety Analysis Procedures, for more information. Though all workplaces are to be assessed, hazards requiring the use of PPE will generally not be found in office type work areas.

It is necessary to consider certain general guidelines for assessing head, eye, face, ear, hand, foot, respiratory hazards, and whole body hazards that exist in an occupational or educational setting. The general hazard categories requiring assessment include but may not be limited to:

*Impact/penetration	*Noise	*Chemical contact		*Water

*Temperature extremes	*Electric Shock	*Respirable hazards

*Light (optical) radiation	*Compression/rollover	*Vibration

*Biological materials	*Radioactive materials	*Elevated work surfaces

During the walk-through survey, identify and evaluate sources of these hazards. Consider if, or how, these hazards could cause injury or impairment to the function of any body part through adsorption, inhalation, or physical contact.

## 2.1	Hazard Re-Assessment

A hazard re-assessment must be conducted whenever new equipment or processes are introduced or the review of occupational injury and illness records by the supervisor or EH&S indicated the need for PPE.

## 2.2	Hazard Assessment Certification

Supervisors shall verify that the hazard assessment has been performed through a written certification. After surveying work areas and practices, the supervisor completes the “Workplace Hazard Assessment Certification Form.” If a work area assessment does not reveal hazards requiring the use of PPE, enter: “No Hazard” on the Workplace Hazard Assessment Certification Form. Departments are required to retain the certification form.

## 2.3	Hazard Assessment Assistance

Workplace Hazard Assessment forms and Personal Protective Equipment Selection charts have been developed to assist supervisors in assessing their work areas, and selecting appropriate PPE. The Workplace Hazard Assessment and Personal Protective Equipment Selection charts address the most frequently encountered hazards and recommended PPE. Therefore, the contents are not all inclusive. Hazards not listed may be found in your work area and special PPE could be needed. Contact EH&S for assistance, and to conduct noise and respiratory hazard assessments, where applicable.

# 3.0	PPE EQUIPMENT SELECTION

Upon completing the hazard assessment, each department/unit selects and provides the types of PPE suitable for the specific hazards present. Careful consideration must be given to the level of protection, fit, durability, and comfort of the PPE. PPE that fits poorly will not afford the necessary level of protection. Protective devices are generally available in a variety of sizes and care should be taken to ensure that the right size is selected. Some PPE is equipped with adjustable features. Adjustments should be made on an individual basis for a comfortable fit that will maintain the protective device in the proper position. However, PPE should never be modified without written approval from the manufacturer. PPE should be maintained in a clean and reliable condition, and defective equipment must not be used.

# 4.0	TRAINING

Supervisors must ensure their employees receive information and training on how to use the assigned PPE. PPE must always be used in accordance with the manufacturer’s specifications. Training and information to be provided to each user of PPE includes:

- Why, when, and what PPE is necessary

- Selection criteria and limitations of the PPE

- How to properly don, doff, adjust, and wear PPE

- The proper care, inspection, maintenance useful life and disposal of the PPE

Each employee must demonstrate an understanding of this training, and ability to wear PPE properly, before being allowed to perform work requiring the use of PPE. Methods of demonstrating understanding include orally questioning the employee, observing the employee using the PPE in a real or artificial setting, or administering a written test. Manufacturer’s literature, the supplying vendor, and EH&S are sources for PPE selection and training assistance and materials.

Employees must be retrained when there have been:

- Changes in the workplace, such as new processes and equipment, which render previous training out of date.

- Changes in the types of PPE, which render the previous training out of date.

- Work habits or demonstrated knowledge indicate that the employee has not retained the necessary understanding, skill or motivation to use PPE.

## 4.1	Training Certification

A written certification must be completed verifying that each employee using PPE has received and understood the required training. After employees have received training, the supervisor completes the “Personal Protective Equipment Training Certification” form found in section 11.0.

# 5.0	EYE PROTECTION SELECTION

Eye and face protective equipment should be routinely considered for occupations such as, but not limited to, carpenters, electricians, machinists, mechanics, plumbers, pipe fitters, lathe and milling machine operators, welders, ground keepers, and employees using chemicals.

General eye and face protective equipment selection criteria:

- All eye and face protective equipment shall comply with ANSI Z87.2003, except eye protection designed for laser operations. Laser protective eyewear optical density is dependent on laser wavelength (contact EH&S for further information).

- Reference WSU’s SPPM S30.30.1 for prescription safety glasses procedures.

- Care should be taken to recognize the possibility of multiple and simultaneous exposure to a variety of hazards. Adequate protection against the highest level of each of the hazards should be required.

- As a general rule face-shields should be worn in conjunction with primary eye protection (spectacles or goggles).

- Wearers of contact lenses must also wear appropriate eye and face protection devices in a hazardous environment. Dust and/or chemical environments may represent an additional hazard to contact lens wearers.

- Operations involving heat may also produce light radiation. Protection from both hazards is required.

- Protection from light radiation is directly related to spectacle filter density. Select the darkest shade that allows task performance.

- Caution should be exercised in the use of metal frame protective devices in electrical hazard areas.

- Eye protection for employees who wear prescription lenses should incorporate the prescription into the design of the eye protection or should be large enough to be worn over the prescription lenses without disturbing them.

Examples of eye hazards include:

*Flying particles			*Molten Metal			*Liquid chemicals

*Acids or caustic liquids		*Objects that puncture		*Chemical gases or vapors

*Light that could injure eyes (lasers, ultraviolet or infrared light)

EYE AND FACE PROTECTION SELECTION CHART

| SOURCE/ACTIVITY | HAZARD | PROTECTION |
| --- | --- | --- |
| IMPACT: Grinding, machining, masonry work, woodworking, sawing, drilling, powered fastening, riveting and sanding | Flying fragments, objects, chips and sand particles | Spectacles with side protection, goggles, and /or face shields |
| HEAT: Welding, furnace operations, pouring and casting. | Hot sparks Splash from molten metals High temperature exposure | Goggles, spectacles with side protection. For severe exposure use face-shields Face-shield worn over goggles Screen face-shields, reflective face-shields. |
| DUST: Woodworking, buffing, and grain and coal handling | Dust | Goggles |
| LIGHT and/or RADIAITION Welding-Electrical Arc Welding-Gas Cutting, Torch Brazing, Torch Soldering Lasers | Optical Radiation Optical Radiation Optical Radiation Thermal exposure, acoustic, photochemical | Welding helmets or shields. Typical shades: 10-14 Welding goggles or face-shield. Typical shades: gas welding 4-8; cutting 3-6: brazing 3-4 Spectacles or welding face-shield. Typical shades: 1.5-3 Refer to laser manufacturer’s operations manual or ANZI Z135.1 (1993). Protective eyewear with an optical density for the specific application. |
| CHEMICALS: Laboratory research, chemical handling and transferring, custodial, construction and maintenance operations. | Splash Vapor | Goggles, face-shields. See MSDS Goggles must be non-ventilated. See MSDS |

# 6.0	FOOT PROTECTION SELECTION

Foot protective equipment should be routinely considered for occupations such as, but not limited to, carpenters, electricians, machinists, mechanics, plumbers, pipe fitters, dry wallers, welders, grounds keepers, shipping and receiving clerks, warehouse workers, and employees using chemicals.

Examples of foot hazards include: falling objects, rolling objects, piercing/cutting objects, electrical hazards, chemical, and slippery surfaces.

Safety-toe boots must be rated for 75lbs. impact and 2500lbs. compression, have 6-8” leather uppers, and have slip and oil resistant soles. Safety toe guards should also provide 75lbs. impact and 2500lbs. compression protection. Reference WSU’s SPPM S30.50.1 for Safety Footwear procedures.

FOOT PROTECTION SELECTION CHART

| SOURCE/ACTIVITY | HAZARD | PROTECTION |
| --- | --- | --- |
| IMPACT: Routinely carrying or handling materials such as packages, parts, or heavy tools. | Falling objects. As a general guide, routinely lifting hard edge objects, weighing 10 pounds or more, at waist level should be considered a hazard | Safety shoes or boots complying with ANSI Z41-1997 |
| COMPRESSION: Manual and powered material handling equipment, bulk rolls and heavy tools. | Rolling or pinching equipment and objects | Safety shoes or boots complying with ANSI Z41-1997 |
| PUNCTURE: Construction and demolition activities | Stepping on nails, tack, screw, large staples, scrap metal or broken glass | Safety shoes or boots with puncture resistant soles |
| ELECTRICAL: Construction and maintenance of electrical service | Electrical shock and electrocution | Electrical insulating safety shoes |
| CHEMICAL: Laboratory research, chemical handling and transferring, custodial, construction and maintenance operations. | Splash, skin burns, and absorption toxicity | Impervious rubber boot or bootie covering the shoe. Pant leg or protective suit should pass over top of boot/shoe to prevent chemical from entering. |

FOOT PROTECTION CODING EXAMPLE

ANSI 41 PT 97

F I/75 C/75 MT/75

Cd 1 EH

PR

Line 1: Indicates ANSI standard, protective toe rating PT, followed by last two digits of the year of the ANSI standard.

Line 2: Identifies gender (M or F), existence of impact resistance (I) and the impact rating of 75, 50 or 30 foot-pounds; compression rating (C) and compression resistance rating of 75, 50, or 30 lbs which correlates to 2500 lbs, 1750, lbs, and 1000 lbs compression respectively; and metatarsal designation, MT, and rating of 75, 50, or 30 foot-pounds.

Line 3: Conductive properties, Cd; and type 1 or 2 electrical hazard (EH)

Line 4: Puncture resistant designation, PR.

# 7.0	HEAD PROTECTION

Head protective equipment should be routinely considered for occupations such as, but not limited to, carpenters, electricians, machinists, mechanics, plumbers, pipe fitters, dry wall workers, welders, grounds keepers, shipping and receiving clerks, and warehouse workers.

Proper fitting of helmet (hard hat) is important to ensure it will not fall off. In some cases a chinstrap may be necessary. Helmets with metal buttons or visors should not be worn around electrical hazards. Bump caps are not acceptable in areas where hard hats are required. Protective helmets shall comply with ANSI Z89.1-2003.

TYPE I Protects against impact to top of the head

TYPE II Protects against impact to side and top of head

Bump Caps no impact protection

HEAD PROTECTION SELECTION CHART

| SOURCE/ACTIVITY | HAZARD | PROTECTION |
| --- | --- | --- |
| IMPACT/PENETRATION: Construction, repair, demolition, and tree trimming | Overhead impacts Type 1, Overhead/side impact Type II | Class A, B, C protective helmets. |
| ELECTRCIAL: Electrical utility installation and repair | Electrical shock and electrocution | Class B protective helmets |
| ENTANGLEMENT/FIRE HAZARD: Rotating machinery | Hair becoming entangled in moving parts or near ignition source | Caps or other protective hair coverings |

HARD HAT ELECTRCIAL PROTECTION CODING CHANGES FOR TYPE I & II*

| ANSI Z89.1-1986 | ANSI Z89.1-2003 | VOLTAGE APPLICATION |
| --- | --- | --- |
| A | G | general 2200 volts |
| B | E | electrical 20,000 volts |
| C | C | conductive not tested |

Chart above shows important marking changes for electrical protection.

HARD HAT CARE AND MAINTENANCE

- Protect from temperature extremes, chemicals and rough treatment.

- Avoid storing in direct sunlight.

- Replace hats that have been subjected to a heavy blow.

- Never paint a hard hat.

- Do not cut holes in hat.

- Inspect shell and suspension for dents, cracks, brittleness, tears, or other damage before each use.

- Clean periodically with hot water and soap. Disinfect between use by another person.

- Replace hat periodically dependent on use and manufacturer’s recommendation.

HARD HAT FIT

- Wear hats straight, not at an angle or backwards.

- Use chinstrap if necessary to prevent hat from falling off.

- Leave 1” of air space between head and shell to allow movement of suspension system to reduce shock and prevent shell from striking head upon impact. Also allows air circulation to cool scalp.

- Adjust suspension so that hat stays on if bent over, but not so tight that it leaves mark on forehead.

- Hats come with 4, 6, 8-point suspensions. The more suspension points the greater the stability and comfort.

# 8.0	HAND PROTECTION

Gloves are often relied upon to prevent cuts, abrasions, and burns and skin contact with chemicals that are capable of causing local or systemic effect following dermal exposure. There is not a single glove that provides protection against all potential hand hazards; therefore, it is important to select the most appropriate glove for a particular application and to determine how often and long it can be worn and whether it can be reused.

Physical and chemical hand protective equipment selection criteria:

*Work activities should be evaluated to determine the degree of dexterity required, the duration, frequency, and degree of exposure, and physical stresses that will be applied.

*The toxic properties of the chemicals(s) must be determined; in particular, the ability of the chemical to cause local effects on the skin and/or to pass through the skin and cause systemic effects.

*For mixtures and formulated products (unless specific test data are available), gloves should be selected on the basis of the chemical component that will breakthrough the glove material in the shortest time. Sometimes double gloving with different types of gloves is necessary.

Electrical hand protective equipment selection criteria and testing:

*Rubber insulating gloves should meet the American Society for Testing and Materials (ASTM D 120-87) specification for rubber insulating gloves.

*Electrical protective equipment, including gloves, shall be subject to periodic electrical tests. Rubber gloves are to be tested before first use and every 6 months thereafter.

HAND PROTECTION SELECTION CHART

| SOURCE/ACTIVITY | HAZARD | PROTECTION |
| --- | --- | --- |
| SHARP TOOLS/MATERIALS: Cutting, dissecting, dicing, butchering, handling sharp or ragged objects | Lacerations from blades, knives, glass, sheet metal. Splinters from rough lumber. Severe abrasions | Leather, wire mesh or stitch gloves, cut-resistant rubber gloves |
| THERMAL HEAT: Cooking, welding, soldering, brazing, foundry work, steam line/furnace repair, autoclaves | Thermal Heat | Leather gloves, flame retardant gauntlet gloves, chemical treated cloth gloves |
| EXTREME COLD: Handling cold materials, cryogenic research | Frostbite | Permeable or impervious non-insulated gloves, permeable or impervious insulated gloves |
| ELECTRCIAL: Electrical utility installation and repair | Electrical shock and electrocution | Rubber insulated voltage rated gloves, other gloves rated for electrical work |
| CHEMCIALS: Laboratory research, chemical handling and transferring, custodial, construction and maintenance operations. | Glove permeation and degradation causing dry skin, dermatitis, burns, irritation or ulceration | Gloves composed of chemically compatible material. Refer to Material Safety Data Sheet, WSU Laboratory Safety Manual or contact EH&S for assistance |

# 9.0	HEARING PROTECTION

See the Hearing Loss Prevention Program section of the WSU Vancouver Accident Prevention Plan for information on hearing protection. Hearing protective equipment should be routinely considered for occupations such as, but not limited to, carpenter, plumbers, welders, grounds keepers, printing press operators, musicians, heavy equipment operators, feed mill workers, farm equipment operators, and power plant operators.

Employees exposed to noise at 85dBA and higher based on an 8-hour time weighted average are to be included in WSU’s hearing conservation program. The program includes noise monitoring, the use of appropriate hearing protection, annual audiometric testing and annual training.

HEARING PROTECTION SELECTION CHART

| SOURCE/ACTIVITY | HAZARD | PROTECTION |
| --- | --- | --- |
| NOISY EQUIPMENT: High speed tools, heavy mobile equipment and frequent use of mechanized equipment | Noise induced hearing loss | Ear plugs and/or ear muffs with appropriate Noise Reduction Rating (NRR) |

# 10.0	RESPIRATORY PROTECTION

See the Respiratory Protection Program section of the WSU Vancouver Accident Prevention Plan for respiratory protection information. Respiratory protective equipment should be routinely considered for occupations such as but not limited to, painters, plumbers, carpenters, asbestos abatement workers, pesticide applicators, laboratory researches, fire fighters and chemical waste handlers. Respiratory protective equipment should also be considered for employees and students engaged in activities such as construction, demolition, sanding and welding, which create dusts and fumes.

Activities creating dusts, mist, fumes and vapors, and hazards such as oxygen deficient atmospheres, irritants, carcinogens, sensitizers and other heath effects are to be assessed for respiratory protection.

Employees required to wear respirators are to be included in WSU’s written respiratory protection program. The program includes air monitoring, medical qualification to wear respirators, fit testing, the use of appropriate respiratory protective equipment and annual training. Employees potentially exposed to specific contaminants (e.g., lead, asbestos, specific carcinogens) are to be covered by a medical surveillance program.

# 11.0	MISCELLANEOUS PERSONAL PROTECTIVE EQUIPMENT SELECTION

PPE not listed on the preceding charts may be required when employees are exposed to laceration, burn, abrasion, vibration, chemical, and fall hazards. PPE to consider include: Chaps, aprons, lab coats, protective sleeves, knee pads, coveralls, safety vests, welding coats, and personal fall restraint and arrest systems.

# 11.0	TRAINING CERTIFICATION

| PERSONAL PROTECTIVE EQUIPMENT TRAINING CERTIFICATION |
| --- |
| EMPLOYEE NAME | has been assigned and trained to use the following personal protective equipment when working in areas and/or tasks below. |
| AREA/TASK | PPE REQUIRED (X Applicable Boxes) | PPE SELECTED (Make & Model #) |
|  |  | Eye/Face Protection |  |
|  |  | Head Protection |  |
|  |  | Foot Protection |  |
|  |  | Hand Protection |  |
|  |  | Noise Protection |  |
|  |  | Respiratory Protection |  |
|  |  | Other |  |
|  |  | Other |  |
| AREA/TASK | PPE REQUIRED (X Applicable Boxes) | PPE SELECTED (Make & Model #) |
|  |  | Eye/Face Protection |  |
|  |  | Head Protection |  |
|  |  | Foot Protection |  |
|  |  | Hand Protection |  |
|  |  | Noise Protection |  |
|  |  | Respiratory Protection |  |
|  |  | Other |  |
|  |  | Other |  |
| AREA/TASK | PPE REQUIRED (X Applicable Boxes) | PPE SELECTED (Make & Model #) |
|  |  | Eye/Face Protection |  |
|  |  | Head Protection |  |
|  |  | Foot Protection |  |
|  |  | Hand Protection |  |
|  |  | Noise Protection |  |
|  |  | Respiratory Protection |  |
|  |  | Other |  |
|  |  | Other |  |
| I, _________________________________ Employee's signature | have received and understood the training on the PPE listed above. This training included the areas and tasks requiring PPE; how to properly put on, wear and take off the PPE; PPE selection criteria, and the proper care, inspection, maintenance, useful life and disposal of the PPE. |
| Supervisor: | Training Dates |

# 12.0	WORKPLACE HAZARD ASSESSMENT CERTIFICATION

| WORKPLACE HAZARD ASSESSMENT CERTIFICATION |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Instructions: Complete form using Personal Protective Equipment Hazard Assessment Guidelines. Departments are to retain completed forms. |
| Person(s) conducting the hazard assessment: |  |  |  |  |  |  |  |  |  |
| WSU Location/Department/Unit: |  |  |  |  |  |  |  |  |  |
| WORK ACTIVITY ASSESSED | BLD/ROOM LOCATION | DATE | HAZARD(S) IDENTIFIED |  | PPE SELECTED (MAKE & MODEL#) |
| I, ____________________________, certify that the assessment of the identified work activities has been performed. Date:________________ |
|  |  |  |  |  |  |  |  |  |  |  |  |  | EH&SS 2/06 |
| PPE HAZARDS: 1) impact/penetration/vibration/temperature extremes/optical (light) radiation/compression/rollover/noise/electric shock/water/elevated surfaces/ confined spaces/respirable hazards/chemical contact/radioactive materials/biological materials |